## Sheet1
[6 empty] | Cedar Rapids Water Plant | [11 empty] | Cedar Rapids Water Plant | [10 empty] | Cedar Rapids Water Plant | [12 empty] | Cedar Rapids Water Plant
[6 empty] | Finished Water Analysis Summary | [11 empty] | Finished Water Analysis Summary | [10 empty] | Finished Water Analysis Summary | [12 empty] | Finished Water Analysis Summary
[6 empty] | J Avenue NE Plant | [11 empty] | J Avenue NE Plant | [10 empty] | NW Plant | [12 empty] | NW Plant
[11 empty] | January 2012 | [12 empty] | January 2012 | [10 empty] | January 2012 | [12 empty] | January 2012
[5 empty] | FINISHED WATER HARDNESS LEVELS |  | ALKALINITY |  | Total | Total Coliform | System | [6 empty] | Chloride | Sulfate |  |  |  |  | Total | [5 empty] | FINISHED WATER HARDNESS LEVELS |  | ALKALINITY |  | Total | Total Coliform | [6 empty] | Chloride | Sulfate |  |  |  |  | Total
| p H | Temperature |  |  | mg/L (as CaCO3) |  | mg/L(as CaCO3) |  | Chlorine | Colonies | Samples |  | Fluoride | Nitrate | Nitrite | Ammonia | O-Phosphate | (Comp) | (Comp) |  | Conductivity | Turbidity |  | Dissolved |  | p H | Temperature |  |  | mg/L (as CaCO3) |  | mg/L (as CaCO3) |  | Chlorine |  |  | Fluoride | Nitrate | Nitrite | Ammonia | O-Phosphate | (Comp) | (Comp) |  | Conductivity | Turbidity |  | Dissolved | J Ave | NW
Date | S.U.'s | Degrees F. | Total | Calcium | Magnesium | Non-Carbonate | Total | Phenol. | mg/L | per 100 ml | Mean HPC/ml | Date | mg/L | mg/L (as N) | mg/L (as N) | mg/L (as N) | mg/L (as PO4) | mg/L | mg/L (as SO4) | Stability | µmhos/cm | NTU's | Iron mg/L | Solids, mg/L | Date | S.U.'s | Degrees F. | Total | Calcium | Magnesium | Non-Carbonate | Total | Phenol. | mg/L | per 100 ml | Date | mg/L | mg/L (as N) | mg/L (as N) | mg/L (as N) | mg/Ll (as PO4) | mg/L | mg/L (as SO4) | Stability | µmhos/cm | NTU's | Iron mg/L | Solids, mg/L | Sodium | Sodium
1 | 8.21 | 59 | 127 | 62 | 65 | 52 | 75 | 0 | 3.34 | ABSENT |  | 1 | 0.62 |  |  |  | 0.641 |  |  | -0.58 | 322 | 0.031 |  |  | 1 | 8.21 | 52.3 | 118 | 49 | 69 | 61 | 57 |  | 3.36 | ABSENT | 1 | 0.63 |  |  |  | 0.649 |  |  | -0.8 | 302 | 0.03
2 | 8.16 | 57.7 | 132 | 59 | 73 | 56 | 76 | 0 | 3.38 | ABSENT |  | 2 | 0.62 |  |  |  | 0.684 |  |  | -0.5 | 327 | 0.032 |  |  | 2 | 8.15 | 52.3 | 119 | 51 | 68 | 61 | 58 |  | 3.35 | ABSENT | 2 | 0.69 |  |  |  | 0.683 |  |  | -0.7 | 301 | 0.03
3 | 8.12 | 54.9 | 136 | 74 | 62 | 60 | 76 | 0 | 3.33 | ABSENT |  | 3 | 0.7 |  |  |  | 0.658 |  |  | -0.36 | 332 | 0.031 |  |  | 3 | 8.17 | 51.6 | 121 | 51 | 161 | 153 | 59 |  | 3.21 | ABSENT | 3 | 0.63 |  |  |  | 0.684 |  |  | -0.64 | 302 | 0.08
4 | 8.15 | 59 | 134 | 74 | 60 | 59 | 75 | 0 | 3.48 | ABSENT |  | 4 | 0.68 | 1.36 | < 0.02 | 0.8 | 0.652 | 34.3 | 37 | -0.28 | 331 | 0.031 | ND |  | 4 | 8.21 | 52.2 | 119 | 50 | 69 | 59 | 60 |  | 3.22 | ABSENT | 4 | 0.68 | 3.18 | < 0.02 | 0.7 | 0.621 | 32 | 36.2 | -0.46 | 304 | 0.03 | ND |  | 14.4 | 13.2
5 | 8.13 | 59.7 | 134 | 61 | 73 | 54 | 80 | 0 | 3.45 | ABSENT |  | 5 | 0.67 |  |  |  | 0.636 |  |  | -0.4 | 333 | 0.03 |  |  | 5 | 8.19 | 51.3 | 123 | 54 | 69 | 61 | 62 |  | 3.33 | ABSENT | 5 | 0.69 |  |  |  | 0.639 |  |  | -0.58 | 308 | 0.03
6 | 8.12 | 61 | 134 | 62 | 72 | 57 | 77 | 0 | 3.44 | ABSENT |  | 6 | 0.63 |  |  | 0.83 | 0.631 |  |  |  | 327 | 0.029 |  |  | 6 | 8.18 | 51.4 | 122 | 48 | 74 | 61 | 61 |  | 3.23 | ABSENT | 6 | 0.69 |  |  | 0.71 | 0.641 |  |  |  | 303 | 0.04
7 | 8.08 | 59.9 | 132 | 64 | 68 | 55 | 77 | 0 | 3.45 | ABSENT |  | 7 | 0.64 |  |  |  | 0.64 |  |  |  | 331 | 0.03 |  |  | 7 | 8.23 | 51.3 | 121 | 52 | 69 | 61 | 60 |  | 3.32 | ABSENT | 7 | 0.69 |  |  |  | 0.658 |  |  |  | 308 | 0.03
8 | 8.13 | 61.3 | 131 | 60 | 71 | 55 | 76 | 0 | 3.41 | ABSENT |  | 8 | 0.66 |  |  |  | 0.645 |  |  | -0.51 | 327 | 0.033 |  |  | 8 | 8.17 | 51.6 | 122 | 50 | 72 | 61 | 61 |  | 3.32 | ABSENT | 8 | 0.65 |  |  |  | 0.676 |  |  | -0.71 | 310 | 0.03
9 | 8.09 | 61 | 132 | 61 | 71 | 57 | 75 | 0 | 3.18 | ABSENT |  | 9 | 0.661 |  |  |  | 0.652 |  |  | -0.5 | 326 | 0.059 |  |  | 9 | 8.13 | 48.7 | 122 | 45 | 77 | 65 | 57 |  | 3.24 | ABSENT | 9 | 0.593 |  |  |  | 0.696 |  |  | -0.61 | 303 | 0.1
10 | 8.17 | 60.8 | 139 | 73 | 66 | 58 | 81 | 0 | 3.42 | ABSENT |  | 10 | 0.65 |  |  |  | 0.638 |  |  | -0.37 | 333 | 0.031 |  |  | 10 | 8.2 | 51.1 | 125 | 48 | 77 | 66 | 59 |  | 3.29 | ABSENT | 10 | 0.65 |  |  |  | 0.68 |  |  | -0.55 | 310 | 0.03
11 | 8.13 | 54.9 | 139 | 65 | 74 | 60 | 79 | 0 | 3.43 | ABSENT |  | 11 | 0.66 | 1.5 | ND | 0.79 | 0.667 | 33.3 | 35.7 | -0.3 | 335 | 0.031 | ND |  | 11 | 8.23 | 48.6 | 125 | 46 | 79 | 67 | 58 |  | 3.34 | ABSENT | 11 | 0.66 | 3.42 | ND | 0.7 | 0.677 | 31.2 | 35.6 | -0.59 | 309 | 0.03 | ND |  | 14.3 | 13
12 | 8.13 | 55.8 | 137 | 58 | 79 | 52 | 85 | 0 | 3.26 | ABSENT |  | 12 | 0.63 |  |  |  | 0.641 |  |  | -0.4 | 334 | 0.078 |  |  | 12 | 8.25 | 48.4 | 121 | 48 | 73 | 64 | 57 |  | 3.28 | ABSENT | 12 | 0.63 |  |  |  | 0.661 |  |  | -0.76 | 306 | 0.05
13 | 8.14 | 51.1 | 134 | 61 | 73 | 56 | 78 | 0 | 3.36 | ABSENT |  | 13 | 0.59 |  |  | 0.9 | 0.638 |  |  |  | 330 | 0.03 |  |  | 13 | 8.2 | 50.5 | 124 | 45 | 79 | 62 | 62 |  | 3.28 | ABSENT | 13 | 0.65 |  |  | 0.7 | 0.671 |  |  |  | 307 | 0.03
14 | 8.06 | 54.1 | 138 | 66 | 72 | 58 | 80 | 0 | 3.48 | ABSENT |  | 14 | 0.59 |  |  |  | 0.629 |  |  |  | 334 | 0.03 |  |  | 14 | 8.2 | 49.5 | 126 | 57 | 69 | 62 | 64 |  | 3.51 | ABSENT | 14 | 0.7 |  |  |  | 0.642 |  |  |  | 318 | 0.04
15 | 8.12 | 55.6 | 134 | 61 | 73 | 57 | 77 | 0 | 3.51 | ABSENT |  | 15 | 0.61 |  |  |  | 0.721 |  |  | -0.57 | 332 | 0.03 |  |  | 15 | 8.19 | 50 | 126 | 66 | 60 | 64 | 62 |  | 3.53 | ABSENT | 15 | 0.67 |  |  |  | 0.643 |  |  | -0.66 | 312 | 0.05
16 | 8.12 | 55 | 133 | 60 | 73 | 57 | 76 | 0 | 3.46 | ABSENT |  | 16 | 0.6 |  |  |  | 0.623 |  |  | -0.55 | 326 | 0.032 |  |  | 16 | 8.2 | 49.8 | 124 | 46 | 78 | 63 | 61 |  | 3.37 | ABSENT | 16 | 0.66 |  |  |  | 0.639 |  |  | -0.6 | 309 | 0.04
17 | 8.11 | 55.9 | 138 | 71 | 67 | 58 | 80 | 0 | 3.41 | ABSENT |  | 17 | 0.64 |  |  |  | 0.629 |  |  | -0.34 | 334 | 0.057 |  |  | 17 | 8.17 | 50 | 128 | 49 | 79 | 65 | 63 |  | 3.51 | ABSENT | 17 | 0.66 |  |  |  | 0.628 |  |  | -0.47 | 304 | 0.09
18 | 8.08 | 57.4 | 138 | 59 | 79 | 60 | 78 | 0 | 3.28 | ABSENT |  | 18 | 0.56 | 1.5 | ND | 0.77 | 0.648 | 33.1 | 36.3 | -0.31 | 332 | 0.069 | ND |  | 18 | 8.21 | 49.6 | 126 | 50 | 76 | 62 | 64 |  | 3.45 | NR | 18 | 0.65 | 3.51 | ND | 0.71 | 0.631 | 31 | 35.2 | -0.51 | 312 | 0.06 | ND |  | 14.3 | 13.1
19 | 8.07 | 57.7 | 138 | 59 | 79 | 57 | 81 | 0 | 3.46 | ABSENT |  | 19 | 0.63 |  |  |  | 0.595 |  |  | -0.4 | 341 | 0.041 |  |  | 19 | 8.13 | 49.8 | 126 | 51 | 75 | 63 | 63 |  | 3.41 | ABSENT | 19 | 0.67 |  |  |  | 0.643 |  |  | -0.55 | 311 | 0.04
20 | 8.16 | 56.8 | 136 | 59 | 77 | 57 | 79 | 0 | 3.46 | ABSENT |  | 20 | 0.63 |  |  | 0.86 | 0.681 |  |  |  | 334 | 0.038 |  |  | 20 | 8.23 | 49.3 | 127 | 51 | 76 | 64 | 63 |  | 3.19 | ABSENT | 20 | 0.66 |  |  | 0.73 | 0.644 |  |  |  | 312 | 0.04
21 | 8.07 | 54.7 | 135 | 62 | 73 | 56 | 79 | 0 | 3.5 | ABSENT |  | 21 | 0.59 |  |  |  | 0.648 |  |  |  | 342 | 0.033 |  |  | 21 | 8.24 | 48.6 | 126 | 49 | 77 | 65 | 61 |  | 3.42 | ABSENT | 21 | 0.64 |  |  |  | 0.635 |  |  |  | 314 | 0.04
22 | 8.04 | 55 | 133 | 61 | 72 | 56 | 77 | 0 | 3.49 | ABSENT |  | 22 | 0.59 |  |  |  | 0.658 |  |  | -0.41 | 333 | 0.034 |  |  | 22 | 8.2 | 49.1 | 126 | 54 | 72 | 65 | 61 |  | 3.44 | ABSENT | 22 | 0.62 |  |  |  | 0.688 |  |  | -0.55 | 312 | 0.03
23 | 8.08 | 55.8 | 136 | 52 | 84 | 61 | 75 | 0 | 3.46 | ABSENT |  | 23 | 0.59 |  |  |  | 0.622 |  |  | -0.5 | 332 | 0.04 |  |  | 23 | 8.21 | 48.6 | 125 | 44 | 81 | 66 | 59 |  | 3.47 | ABSENT | 23 | 0.61 |  |  |  | 0.593 |  |  | -0.6 | 312 | 0.03
24 | 8.17 | 55.4 | 135 | 52 | 83 | 57 | 78 | 0 | 3.45 | ABSENT |  | 24 | 0.62 |  |  |  | 0.644 |  |  | -0.41 | 333 | 0.03 |  |  | 24 | 8.19 | 48.7 | 125 | 43 | 82 | 65 | 60 |  | 3.54 | ABSENT | 24 | 0.59 |  |  |  | 0.636 |  |  | -0.5 | 314 | 0.04
25 | 8.19 | 55.8 | 137 | 55 | 82 | 58 | 79 | 0 | 3.22 | ABSENT |  | 25 | 0.704 | 1.53 | ND | 0.79 | 0.686 | 34.1 | 37.4 | -0.35 | 333 | 0.031 |  | 205 | 25 | 8.13 | 32 | 128 | 46 | 82 | 68 | 60 |  | 3.55 | ABSENT | 25 | 0.67 | 3.86 | ND | 0.83 | 0.649 | 32.1 | 36.5 | -0.45 | 315 | 0.04 |  | 188
26 | 8.13 | 53.2 | 140 | 56 | 84 | 59 | 81 | 0 | 3.47 | ABSENT |  | 26 | 0.675 |  |  |  | 0.58 |  |  | -0.36 | 342 | 0.03 |  |  | 26 | 8.17 | 48.7 | 126 | 42 | 84 | 67 | 59 |  | 3.45 | ABSENT | 26 | 0.64 |  |  |  | 0.595 |  |  | -0.54 | 314 | 0.04
27 | 8.16 | 54 | 139 | 60 | 79 | 59 | 80 | 0 | 3.44 | ABSENT |  | 27 | 0.659 |  |  | 0.66 | 0.676 |  |  |  | 334 | 0.038 |  |  | 27 | 8.25 | 48 | 129 | 50 | 79 | 67 | 62 |  | 3.4 | ABSENT | 27 | 0.618 |  |  | 0.68 | 0.635 |  |  |  | 317 | 0.03
28 | 8.15 | 53.6 | 140 | 63 | 77 | 60 | 80 | 0 | 3.44 | ABSENT |  | 28 | 0.65 |  |  |  | 0.689 |  |  |  | 343 | 0.03 |  |  | 28 | 8.24 | 48.2 | 127 | 52 | 75 | 65 | 62 |  | 3.44 | ABSENT | 28 | 0.62 |  |  |  | 0.63 |  |  |  | 321 | 0.03
29 | 8.15 | 53.6 | 137 | 60 | 77 | 59 | 78 | 0 | 3.48 | ABSENT |  | 29 | 0.644 |  |  |  | 0.626 |  |  | -0.48 | 336 | 0.03 |  |  | 29 | 8.18 | 47.8 | 129 | 54 | 75 | 67 | 62 |  | 3.39 | ABSENT | 29 | 0.606 |  |  |  | 0.629 |  |  | -0.58 | 320 | 0.03
30 | 8.13 | 54.7 | 140 | 58 | 82 | 65 | 75 | 0 | 3.48 | ABSENT |  | 30 | 0.69 |  |  |  | 0.599 |  |  | -0.39 | 333 | 0.03 |  |  | 30 | 8.16 | 47.7 | 129 | 48 | 81 | 68 | 61 |  | 3.35 | ABSENT | 30 | 0.6 |  |  |  | 0.626 |  |  | -0.66 | 321 | 0.03
31 | 8.12 | 55.8 | 139 | 57 | 82 | 60 | 79 | 0 | 3.29 | ABSENT |  | 31 | 0.61 |  |  |  | 0.657 |  |  | -0.37 | 341 | 0.031 |  |  | 31 | 8.17 | 48 | 127 | 44 | 83 | 67 | 60 |  | 3.34 | ABSENT | 31 | 0.58 |  |  |  | 0.64 |  |  | -0.38 | 318 | 0.03
Median | 8.13 | [10 empty] | Median | [12 empty] | Median | 8.2 | [9 empty] | Median
Average |  | 56.4581 | 135.7097 | 61.4516 | 74.2581 | 57.5806 | 78.129 | 0 | 3.41 |  |  | Average | 0.63526 | 1.4725 | ND | 0.8 | 0.64626 | 33.7 | 36.6 | -0.41913 | 333 | 0.036452 | ND | 205 | Average |  | 49.1839 | 124.5806 | 49.4516 | 78.0645 | 66.9355 | 60.5806 | #DIV/0! | 3.3719 |  | Average | 0.64506 | 3.4925 | ND | 0.72 | 0.64716 | 31.575 | 35.875 | -0.58478 | 310.6129 | 0.040968 | ND | 188 | 14.3333 | 13.1
Maximum | 8.21 | 61.3 | 140 | 74 | 84 | 65 | 85 | 0 | 3.51 |  |  | Maximum | 0.704 | 1.53 | 0 | 0.9 | 0.721 | 34.3 | 37.4 | -0.28 | 343 | 0.078 | <0.1 | 205 | Maximum | 8.25 | 52.3 | 129 | 66 | 161 | 153 | 64 | 0 | 3.55 |  | Maximum | 0.7 | 3.86 | <0.05 | 0.83 | 0.696 | 32.1 | 36.5 | -0.38 | 321 | 0.1 | <0.1 | 188 | 14.4 | 13.2
Minimum | 8.04 | 51.1 | 127 | 52 | 60 | 52 | 75 | 0 | 3.18 |  |  | Minimum | 0.56 | 1.36 | ND | 0.66 | 0.58 | 33.1 | 35.7 | -0.58 | 322 | 0.029 | ND | 205 | Minimum | 8.13 | 32 | 118 | 42 | 60 | 59 | 57 | 0 | 3.19 |  | Minimum | 0.58 | 3.18 | ND | 0.68 | 0.593 | 31 | 35.2 | -0.8 | 301 | 0.03 | ND | 188 | 14.3 | 13
Std Dev | 0.039401 | 2.6418 | 3.1326 | 5.5066 | 6.3349 | 2.6176 | 2.3486 | 0 | 0.086255 |  |  | Std Dev | 0.036029 | 0.076322 |  | 0.070912 | 0.029077 |  |  | 0.08733 | 5.02 | 0.012252 |  |  | Std Dev | 0.033802 | 3.4993 | 3.0635 | 4.6822 | 16.3135 | 16.1636 | 1.9795 | #DIV/0! | 0.10212 |  | Std Dev | 0.032992 | 0.28182 |  | 0.046599 | 0.025254 |  |  | 0.10197 | 5.8177 | 0.018139
LA = LAB ACCIDENT
In the Total Coliform Colonies column - A=Absent and #=Colonies/100ml | [11 empty] | LA= lab accident | [12 empty] | In the Total Coliform Colonies column - A=Absent and #=Colonies/100ml | [10 empty] | LA= lab accident
BRL = Below Reportable Limit | [11 empty] | BRL = Below Reportable Limit | [12 empty] | BRL = Below Reportable Limit | [10 empty] | BRL = Below Reportable Limit
ND = No Detection | [11 empty] | ND = No Detection | [12 empty] | ND = No Detection | [10 empty] | ND = No Detection